## Slide 1: Intro to Electrophysiology
(aka neurophysiology)
Dr. Jon Peirce, School of Psychology
http://www.peirce.org.uk (go to teaching section to find slides)

## Slide 2: The general idea
Neurons operate by changing their electro-chemical makeup (polarising and de-polarising)
To measure how strongly stimulated a cell is you can measure electrical activity in or around it
All aspects of our behaviour are ultimately governed by the responses of neurons
Notes: Doesn’t mean that we will ever necessarily understand that behaviour – might be too complex interactions

## Slide 3: Types of electrophysiology
in-vitro preparations (literally “in glass”)
in-vivo anaesthetised preparations
in-vivo awake animals
Isolated cells from a ‘slice’ of tissue in a petri-dish
Recording for a brief period following ‘non-recovery’ surgery
Recording from the conscious animal repeatedly over a prolonged period

## Slide 4: Types of probe
Fluid-filled pipettes
Metal in glass (or epoxy) microelectrodes
Shaft diam: ~75µm
Exposed tip: ~1µm
Shaft diam:
~500,150µm
Tip opening: ~1µm
Pipettes can also be used to deliver chemicals to the recording site (e.g. locally administer GABA or ACh)

## Slide 5: in-vitro applications
Useful in understanding how neurons work e.g.;
  How do different chemicals effect transmission of spikes?
  How fast does a spike travel down an axon?
  How does a neuron sum its inputs?

## Slide 6: in-vitro preparations
Viewing under a microscope move a fluid-filled pipette electrode close to or up against a neuron
Air table
Pipette manipulators
Camera
The slice is kept in a special solution of nutrients
Specimen

## Slide 7: in-vitro preparations
v
v
v
‘Patch-clamp’
‘Whole-cell’

## Slide 8: Many variants on the technique
Pipettes can be used to;
  Pump chemicals into the tissue, near the cell
  ‘Inject’ current (i.e. change the membrane potential)
  Record the electrical activity
Often at least 2 or 3 pipettes are used at once

## Slide 9: Pipettes in action
A pipette patching onto a pyramidal cell soma
A pipette patching onto a cell soma whilst another pumps something (!?) onto a dendrite

## Slide 10: in-vitro whole-cell recordings
Normally a cell ‘adapts’ in its response to a constant stimulus
With serotonin added (near the cell) less adaptation occurs

## Slide 11: A closer look
Lots of information about the cell:
Resting potential
Spike threshold
Refractory period
Notes: Note
Rest potential, threshold, refractory period, (almost) constant spike amplitude

## Slide 12: In-vitro pros/cons
Slice preps tell us a lot about isolated neurons
But neurons operate in large interactive networks
To study most psychological aspects we need a live, intact brain to study

## Slide 13: Anaesthetised preparations
Operate (with general anaesthesia) to create an opening in the skull (craniotomy)
Maintain anaesthesia whilst recording from individual neurons
Useful for early sensory processing, especially vision

## Slide 14: Anaesthetised preparations
Typically use a metal/glass electrode which advances and stops near a neuron (‘extra-cellular recording’)
Can (generally) record only spikes: no knowledge of the underlying membrane potential
Experiments often last for several days (24hrs per day) depending on the species. Constant monitoring of anaesthesia and animal health
Preparation is less stable than a slice (because of animal’s pulse and respiration etc)

## Slide 15: e.g. Hubel & Wiesel
Hubel and Wiesel’s groundbreaking vision research was based on visual system of anaesthetised cat
They found that individual cells in the Lateral Geniculate Nucleus (LGN) have centre-surround receptive fields
They also found orientation selective cells in V1…
…and complex cells, ‘hyper-complex’ cells (size selective), direction selective, depth selective cells…

## Slide 16: Acute physiology
Particularly good for low-level visual studies (not affected by the anaesthesia and eyes are still)
Allows us to study cells in the live animal
Pros:
What effects are the drugs having that might change neuronal behaviour?
Most of the things that really interest psychologists need a conscious animal
Cons:

## Slide 17: Awake animals - species
Depending on the system being studied, the animals are usually either rodents or primates
Some studies require primates
  similarity to humans
  can be trained to perform complex tasks (e.g. attentional tasks, learning tasks…)
Use the ‘lowest’ form of animal that you can to answer your question
Rodents are useful where only limited training is required (e.g. auditory processing, fear conditioning, place cells…)

## Slide 18: Awake animals - procedure
Perform a surgery to either;
create an opening in the skull through which you can insert removable electrodes
implant a static electrode or array of electrodes
Post-surgery the animal is recorded from for several hours each day and returned to its home cage
Data can be collected for weeks, months or years depending on the species and study
(Awake and anaesthetised studies are often called ‘chronic’ and ‘acute’, emphasising this timescale difference)

## Slide 19: Sounds awful - doesn’t this hurt?
No - there are no pain receptors inside the brain (similar surgeries are sometimes conducted on conscious human patients)
The implanted ‘well’ on the cranium (protecting the craniotomy) is acclimatised to – the animal quickly ignores it

## Slide 20: Sounds awful - doesn’t this hurt?
No - there are no pain receptors inside the brain (similar surgeries are sometimes conducted on conscious human patients)
The implanted ‘well’ on the cranium (protecting the craniotomy) is acclimatised to – the animal quickly ignores it
A typical setup:
Cortex
Skull
(Steel or titanium) well
Metal/glass electrode
(Steel) guide tube
Dental acrylic
(Note that the only place with pain receptors here is the dura)

## Slide 21: Reconstructing electrode positions
After recording, chronically or acutely, electrode tracks must be reconstructed to verify positions
Animal is killed (overdose of anaesthesia), its brain removed and ‘sectioned’ (~50µm slices)
Accurate enough to tell us which area and maybe which layer (but not which cell)
Sheep cortex with blue stained marker lesion

## Slide 22: Example applications – sensory input
Auditory cortex [various species]
Mid- and high-level vision [mostly primates]
  e.g.
  Are auditory neurons sensitive to a particular frequency like visual neurons?
  What happens to these responses if the animal is trained to ‘attend’ to a different pitch (cocktail party effect)?
  e.g.
  What happens to visual neurons during a saccade?
  Do we have single neurons to recognise a whole face (‘grandmother cells’) or just cells to recognise the parts?

## Slide 23: Example applications– learning and memory
Hippocampus and parahippocampus [rodents]
Amygdala – responses during fear conditioning [rodents]
Nucleus accumbens – responses to reward [rodents]
  e.g. After conditioning, cells in amygdala respond to the conditioned stimulus although they didn’t respond to it initially (also in fMRI)
  What locally applied neurochemicals prevent/attenuate this? (not in fMRI)
  e.g. How do cells in the nucleus accumbens react to self-administered cocaine? What local or systemic manipulations prevent this reaction?
  Cells in the parahippocampus respond when animals are in a particular location in space (also in fMRI)
  How do the different senses contribute? (not in fMRI)

## Slide 24: Example applications - output
Motor areas and eye movement areas (eg ‘frontal eye fields’) [mostly primates]
  e.g.
  How does the eye movement system decide when a movement is completed (i.e. target reached)? Is there a signal for ‘current distance to target’?
  What about other motor systems which have to account for load on the muscles?
  Is it possible to make automatic prosthetic limbs, connected directly to motor cortex?
  (record from rat motor cortex, train it to move a bar by pressing a lever, then activate the lever from its motor responses rather than its actual press!)

## Slide 25: Advantages of neurophys
Most psychology and neuroscience is implying something about the activity of neurons
Electrophysiology is the way to find out directly about neuronal activity
Other methods (fMRI, EEG, MEG…);
  Cannot tell the difference between many neurons firing a little and one neuron firing a lot (e.g. think about trying to measure depth-selective cells in fMRI – how would you do that?)
  Have poor spatial resolution (EEG) or poor temporal resolution (fMRI)
  Don’t have an understood relationship with neuronal activity (e.g. what actually causes Blood Oxygen Level Dependent signal changes?)

## Slide 26: Problems with neurophys
Ethical
  Does scientific progress warrant invasive (and terminal) animal procedures?
  We definitely have to Reduce, Refine and Replace (the Home Office “3 Rs”)
Validity
  Cells act as an ensemble - recording from individual neurons might not give us the global picture
  Not very useful for high-level constructs such as social behaviours etc…
It’s hard!
  Species differences?